

**Manhole Inspection Form**

|  |  |
| --- | --- |
| **Catchment ID** | **Date** |
| **Manhole ID** | **Rain Last 48 Hours** |
| **Street Location** |
| **Inspector** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Clock Position****(1-12)****Pipe Material****(Concrete, HDPE, PVC, Ductile Iron, CMP)** | **Pipe Diameter****(in.)** | **Invert Elevation****(ft)** | **Upgradient Structure/Source****(MH ID, CB, Priv, Unk)** | **Flow****(Damp, Trickle, Moderate, High)** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |



Sketch direction(s) of incoming flow

|  |
| --- |
| **Cover Conditions:** Diameter of clear opening (in.) Buried: [ ]  Cannot Inspect: [ ]  Cannot Locate: [ ]  |
| **Evidence of Flow:** [ ]  Yes [ ]  No **If Yes, Description of Flow:** [ ]  Damp [ ]  Trickle [ ]  Moderate [ ]  High |

|  |
| --- |
| **Samples Taken and Sampling Results** |
| Temp.  | Conductivity | Salinity | Chlorine |
| Ammonia | Surfactants | Bacteria | Pollutant of Concern |

|  |
| --- |
| **Visual Evidence of Illicit Discharge**Visual Inspection: [ ]  None [ ]  Floatables [ ]  Pet Waste [ ] Oily Sheen [ ]  Sanitary Waste [ ]  Algae [ ]  Foam  |
| **Olfactory Evidence of Illicit Discharge**Olfactory Inspection: [ ]  None [ ]  Sewage Smell [ ]  Musty [ ]  Rotten Eggs [ ]  Ammonia [ ]  Petroleum |

|  |
| --- |
| **COMMENTS:****Further investigation needed?** [ ]  Yes [ ]  No |